## App7-B - Form B
APPENDIX 7-B
MONTHLY GAS QUALITY REPORT
STATE OF NEW YORK PUBLIC SERVICE COMMISSION
COMPANY | St. Lawrence Gas Co., Inc. |  |  |  | FOR THE MONTH OF: | 2021-11-01
STATIONS | TCPL - St. Lawrence Gate, Canada / SLG - Valve "A", Massena, NY / IGTS - Shelton, CT
GAS TYPES | Natural Gas |  |  |  | WHERE OBTAINED: | SLG Valve A Stream 1
| Average Heating Value |  |  |  |  | Average Specific Gravity (Air=1)
| MJ/m3 | Btu/ft3 - dry | Btu/ft3 - dry | Btu/ft3 - wet | Btu/ft3 - dry
STATION | St Law Gt | St Law Gt | VALVE "A" | VALVE "A" | SHELTON | St Law Gt | VALVE "A" | SHELTON | Delta
DATE | [8 empty] | TCPL/SLG | IGTS/SLG | TCPL/IGTS
1 | 38.8198 | 1041.8898 | 1037.4929 | 1024.0725 | 1042.03 | 0.58704 | 0.58664 | 0.586 | 4.3969 | 4.5371 | -0.14021
2 | 38.8241 | 1042.0048 | 1036.8738 | 1023.4531 | 1041.37 | 0.58762 | 0.58538 | 0.585 | 5.131 | 4.4962 | 0.63484
3 | 38.7892 | 1041.0692 | 1036.5089 | 1023.0902 | 1041.48 | 0.58578 | 0.58505 | 0.585 | 4.5603 | 4.9711 | -0.41079
4 | 38.7624 | 1040.3484 | 1038.2151 | 1024.7802 | 1043.48 | 0.58493 | 0.58525 | 0.586 | 2.1333 | 5.2649 | -3.1316
5 | 38.769 | 1040.5282 | 1041.8857 | 1028.4174 | 1044.84 | 0.58465 | 0.58597 | 0.587 | -1.3575 | 2.9543 | -4.3118
6 | 38.854 | 1042.8073 | 1041.3989 | 1027.9397 | 1044.66 | 0.58523 | 0.58676 | 0.587 | 1.4084 | 3.2611 | -1.8527
7 | 38.9333 | 1044.9376 | 1038.0524 | 1024.6252 | 1042.53 | 0.58608 | 0.58687 | 0.587 | 6.8852 | 4.4776 | 2.4076
8 | 38.8933 | 1043.8638 | 1037.3217 | 1023.9019 | 1041.9 | 0.58657 | 0.58674 | 0.587 | 6.5421 | 4.5783 | 1.9638
9 | 38.8061 | 1041.5231 | 1038.2211 | 1024.7946 | 1042.39 | 0.58648 | 0.58714 | 0.587 | 3.302 | 4.1689 | -0.86687
10 | 38.7964 | 1041.2635 | 1039.2388 | 1025.8063 | 1043.84 | 0.58635 | 0.58796 | 0.588 | 2.0247 | 4.6012 | -2.5765
11 | 38.8323 | 1042.2262 | 1040.6022 | 1027.1619 | 1044.1 | 0.58714 | 0.58914 | 0.588 | 1.624 | 3.4978 | -1.8738
12 | 38.8635 | 1043.0638 | 1041.3381 | 1027.8945 | 1044.25 | 0.58779 | 0.58999 | 0.588 | 1.7257 | 2.9119 | -1.1862
13 | 38.9213 | 1044.6138 | 1040.1162 | 1026.6783 | 1044.25 | 0.58926 | 0.58852 | 0.588 | 4.4976 | 4.1338 | 0.36377
14 | 38.9366 | 1045.0263 | 1038.3463 | 1024.9229 | 1044.25 | 0.58929 | 0.58793 | 0.588 | 6.68 | 5.9037 | 0.77628
15 | 38.8649 | 1043.1009 | 1038.5341 | 1025.0991 | 1044.25 | 0.58795 | 0.58592 | 0.588 | 4.5668 | 5.7159 | -1.1491
16 | 38.823 | 1041.976 | 1042.3827 | 1028.9126 | 1044.25 | 0.58684 | 0.58667 | 0.588 | -0.40669 | 1.8673 | -2.274
17 | 38.8301 | 1042.1664 | 1042.4445 | 1028.9749 | 1044.25 | 0.58542 | 0.58682 | 0.588 | -0.27805 | 1.8055 | -2.0836
18 | 38.9307 | 1044.8667 | 1040.2064 | 1026.7552 | 1044.25 | 0.58655 | 0.58611 | 0.588 | 4.6603 | 4.0436 | 0.61671
19 | 38.8911 | 1043.8047 | 1039.848 | 1026.3999 | 1044.25 | 0.58591 | 0.58611 | 0.588 | 3.9567 | 4.402 | -0.44532
20 | 38.861 | 1042.9974 | 1039.2697 | 1025.8235 | 1044.25 | 0.58573 | 0.58511 | 0.588 | 3.7277 | 4.9803 | -1.2526
21 | 38.8359 | 1042.323 | 1039.7972 | 1026.3473 | 1042.36 | 0.58545 | 0.58543 | 0.586 | 2.5258 | 2.5628 | -0.037038
22 | 38.8379 | 1042.3771 | 1038.2527 | 1024.8197 | 1040.65 | 0.58505 | 0.58561 | 0.586 | 4.1244 | 2.3973 | 1.7271
23 | 38.8277 | 1042.103 | 1040.047 | 1026.5942 | 1042.34 | 0.58516 | 0.5853 | 0.586 | 2.056 | 2.293 | -0.23699
24 | 38.7947 | 1041.2159 | 1044.1395 | 1030.6538 | 1043.7 | 0.58514 | 0.58713 | 0.587 | -2.9236 | -0.4395 | -2.4841
25 | 38.8822 | 1043.5638 | 1044.7706 | 1031.2809 | 1045.25 | 0.58548 | 0.58747 | 0.587 | -1.2068 | 0.4794 | -1.6862
26 | 38.9669 | 1045.8382 | 1043.8737 | 1030.3912 | 1044.81 | 0.58662 | 0.58706 | 0.587 | 1.9645 | 0.9363 | 1.0282
27 | 38.9983 | 1046.6801 | 1044.4242 | 1030.9344 | 1044.87 | 0.58686 | 0.58674 | 0.586 | 2.2559 | 0.4458 | 1.8101
28 | 38.9723 | 1045.9837 | 1045.7059 | 1032.2064 | 1044.59 | 0.58656 | 0.58745 | 0.587 | 0.27779 | -1.1159 | 1.3937
29 | 39.002 | 1046.7807 | 1045.8359 | 1032.337 | 1046.67 | 0.58652 | 0.58785 | 0.588 | 0.94478 | 0.8341 | 0.11068
30 | 39.0197 | 1047.2549 | 1046.7478 | 1033.2435 | 1049.3 | 0.58692 | 0.58853 | 0.59 | 0.50712 | 2.5522 | -2.0451
Average | 38.8713 | 1043.2733 | 1040.7297 | 1027.2771 | 1043.847 | 0.58641 | 0.58682 | 0.58717
Min. | 38.7624 | 1040.3484 | 1036.5089 | 1023.0902 | 1040.65 | 0.58465 | 0.58505 | 0.585
Max. | 39.0197 | 1047.2549 | 1046.7478 | 1033.2435 | 1049.3 | 0.58929 | 0.58999 | 0.59

## App7-B - Form C
APPENDIX 7-B
MONTHLY GAS QUALITY REPORT - NEW YORK STATE PUBLIC SERVICE COMMISSION
Recording Calorimeter Calibration | [7 empty] | Total Sulfur Determination
Date | Station | Method | Before Adjustment (BTU/Cf) |  |  | After Adjustment (BTU/Cf) |  | Station | Gas Type | Where Obtained | Date Sampled | Date Tested | Result (gms/Ccf or mg/m3)
|  |  | Standard | Recording Calorimeter | Error | Recording Calorimeter | Error | D148 | Natural | St Law Gt | daily ave. | daily ave.
| Valve "A" | Automatic Daily Calibration to Known Standard | [5 empty] | Shelton | Natural | igts_gq1 | daily ave. | daily ave. | 2.26 ppm
Ammonia Determination
[8 empty] | Station | Gas Type | Where Obtained | Date Sampled | Date Tested | Result (gms/Ccf or mg/m3)
Hydrogen Sulfide Determination
Did the daily tests indicate that hydrogen sulfide was absent throughout the entire month at each stations? ¢ Yes £ No (see details on SLG Report tab) - Valve "A" only
Specific Gravity (Relative Density) Equipment Calibration
Date | Station | Method | Before Adjustment (Air = 1) |  |  | After Adjustment (Air = 1) |  | If any instance of non-compliance and/or emergency relevant to Rules 100 through 180 fo the PSC Gas Code occurred during the month, submit details on a separate sheet of paper.
|  |  | Standard | Sp Gravity Equipment | Error | Sp Gravity Equipment | Error
| D148 | Acme Gravity Balance | [5 empty] | Signed:
Daily | Valve "A" | Automatic Daily Calibration to Known Standard | [5 empty] | Title: | Supervisor Measurement, Regulation & Corrosion
[8 empty] | Date: | 2021-12-13
Signed:
[8 empty] | Title: | Manager Engineering Materials Evaluation Centre
Date:
Station | Gas Type | Where Obtained | Sampled |  | Tested |  |  | % Dry Analysis
|  |  | Date | Where | Date | Where | Method | CO2 | III | O2 | CO | H2 | CH4 | C2H6
St Law Gt | Natural Gas | St Law Gt | Daily | D148 | Daily | D148 | Chrmtgrph | SEE StLawGate-TCPL REPORT (DAILY ANALYSIS)
[8 empty] | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
Valve "A" | Natural Gas | Valve "A" | Daily | Valve "A" | Daily | Valve "A" | ABB | CO2 | III | O2 | CO | H2 | CH4 | C2H6
[7 empty] | NGC8206 | SEE SLG REPORT (DAILY ANALYSIS)
[7 empty] | Automatic | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
Shelton | Natural Gas | igts_gq1 | Daily | Shelton | Daily | Shelton | not spec'd | CO2 | III | O2 | CO | H2 | CH4 | C2H6
[7 empty] | monthly ave | 0.5252 |  |  |  |  | 94.0683 | 4.7472
[8 empty] | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
[8 empty] | 0.1522 | 0.0091 | 0.0081 | 0.0032 | 0.02 | 0.0013 | 0.4654
Note on I36: Preferred Customer: Propane
Note on J36: Preferred Customer: Iso-Butane
Note on K36: Preferred Customer: N-Butane
Note on L36: Preferred Customer: Add Pentanes
Note on M36: Preferred Customer: Hexane
Note on N33: Preferred Customer: Methane
Note on O33: Preferred Customer: Ethane

## StLawGate-TCPL
Volume/Energy/Composition Report
Volume in E+03M3 at 101.325 kPa 15 DegC
As Of: | [7 empty] | energy | nitrogen | carb-diox | methane | ethane | propane | n-butane | i-butane | n-pentane | i-pentane | hexane | c6+ | c6+
Stn No | GasDay | Egy | Vol | Press | Temp | Accpt | SG | HV | N2 | CO2 | C1 | C2 | C3 | NC4 | IC4 | NC5 | IC5 | NC6 | NC7 | NC8 | HE | Stn Name
|  | GJ | E3M3 | kPa | C | % |  | MJ/M3 | % | % | % | % | % | % | % | % | % | % | % | % | %
50162 | 20211101 | 15970.9357 | 411.4159 | 5790.1991 | 12.0056 | 100 | 0.58704 | 38.8198 | 0.48068 | 0.58325 | 93.9321 | 4.8343 | 0.12011 | 0.004476 | 0.0050082 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211102 | 18307.1999 | 471.542 | 5840.3125 | 12.0208 | 100 | 0.58762 | 38.8241 | 0.49885 | 0.60313 | 93.8178 | 4.921 | 0.11138 | 0.0037049 | 0.004061 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211103 | 17835.7232 | 459.8086 | 5817.7624 | 11.664 | 100 | 0.58578 | 38.7892 | 0.47693 | 0.53978 | 94.1374 | 4.6872 | 0.10986 | 0.0042019 | 0.0044152 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211104 | 22036.8895 | 568.5116 | 5780.5511 | 11.6732 | 100 | 0.58493 | 38.7624 | 0.48058 | 0.51358 | 94.2822 | 4.5665 | 0.10795 | 0.0045841 | 0.0046032 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211105 | 18435.9617 | 475.5334 | 5754.103 | 11.4711 | 100 | 0.58465 | 38.769 | 0.47307 | 0.49385 | 94.3262 | 4.546 | 0.11043 | 0.0048931 | 0.0048931 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211106 | 17112.798 | 440.4426 | 5831.0528 | 11.407 | 100 | 0.58523 | 38.854 | 0.45781 | 0.4499 | 94.2078 | 4.6929 | 0.13388 | 0.0076771 | 0.0075037 | 0 | 0.0008547 | 5.83e-05 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211107 | 18315.0164 | 470.4236 | 5871.8378 | 11.5319 | 100 | 0.58608 | 38.9333 | 0.44851 | 0.42418 | 94.0507 | 4.8557 | 0.15623 | 0.010494 | 0.0097198 | 0 | 0.0028659 | 0.0013327 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211108 | 18108.4588 | 465.5901 | 5871.2375 | 11.3555 | 100 | 0.58657 | 38.8933 | 0.49409 | 0.46715 | 93.9791 | 4.842 | 0.15488 | 0.0094005 | 0.0092002 | 0 | 0.0022875 | 0.0007375 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211109 | 17314.3503 | 446.1723 | 5855.754 | 11.1574 | 100 | 0.58648 | 38.8061 | 0.54764 | 0.5188 | 94.0104 | 4.7269 | 0.13865 | 0.0074943 | 0.0074325 | 0 | 0.0009109 | 7.24e-05 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211110 | 18989.4658 | 489.4642 | 5862.3189 | 10.8992 | 100 | 0.58635 | 38.7964 | 0.54952 | 0.51976 | 94.0353 | 4.701 | 0.13737 | 0.0074741 | 0.0073348 | 0 | 0.0006759 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211111 | 16694.2326 | 429.9075 | 5855.9921 | 10.8203 | 100 | 0.58714 | 38.8323 | 0.52221 | 0.54867 | 93.9127 | 4.8153 | 0.14466 | 0.0073978 | 0.00777 | 0 | 0.0003666 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211112 | 17128.9894 | 440.7484 | 5920.0713 | 10.7329 | 100 | 0.58779 | 38.8635 | 0.51139 | 0.56308 | 93.8065 | 4.9048 | 0.1585 | 0.0067372 | 0.0074721 | 0 | 0.000311 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211113 | 18908.4459 | 485.8154 | 5813.303 | 10.4576 | 100 | 0.58926 | 38.9213 | 0.51325 | 0.59202 | 93.5408 | 5.1273 | 0.17271 | 0.0061474 | 0.0069081 | 0 | 3.52e-05 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211114 | 19162.1415 | 492.137 | 5740.6684 | 10.4267 | 100 | 0.58929 | 38.9366 | 0.5044 | 0.58379 | 93.5171 | 5.1811 | 0.15901 | 0.0061463 | 0.0073669 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211115 | 21323.6001 | 548.6554 | 5628.5026 | 10.239 | 100 | 0.58795 | 38.8649 | 0.49203 | 0.58492 | 93.7529 | 4.9938 | 0.1251 | 0.0049259 | 0.0057606 | 0 | 0 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211116 | 20064.3598 | 516.8124 | 5791.2866 | 10.1621 | 100 | 0.58684 | 38.823 | 0.48084 | 0.56735 | 93.971 | 4.803 | 0.12463 | 0.0058001 | 0.0061876 | 0 | 0.0004102 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211117 | 18847.3743 | 485.382 | 5783.818 | 10.0833 | 100 | 0.58542 | 38.8301 | 0.45392 | 0.48892 | 94.2391 | 4.6013 | 0.15586 | 0.008664 | 0.0087362 | 0 | 0.0018564 | 0.0004354 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211118 | 20368.3849 | 523.2033 | 5820.0956 | 9.9683 | 100 | 0.58655 | 38.9307 | 0.44175 | 0.46031 | 94.0134 | 4.8432 | 0.17452 | 0.0109 | 0.010923 | 0 | 0.0029834 | 0.0012051 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211119 | 23670.9038 | 608.6391 | 5771.5547 | 9.8472 | 100 | 0.58591 | 38.8911 | 0.44976 | 0.45758 | 94.1467 | 4.7011 | 0.17641 | 0.011765 | 0.011314 | 0.000489 | 0.0030769 | 0.0015043 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211120 | 18978.502 | 488.3651 | 5800.3091 | 9.9131 | 100 | 0.58573 | 38.861 | 0.4511 | 0.47704 | 94.1966 | 4.6342 | 0.17433 | 0.010959 | 0.010845 | 7.4e-05 | 0.0030769 | 0.001367 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211121 | 18087.4707 | 465.7383 | 5833.3626 | 9.7129 | 100 | 0.58545 | 38.8359 | 0.44468 | 0.49093 | 94.2639 | 4.5613 | 0.17493 | 0.0099836 | 0.0099739 | 2.05e-05 | 0.0025642 | 0.0008852 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211122 | 23048.6903 | 593.4585 | 5654.0367 | 9.3126 | 100 | 0.58505 | 38.8379 | 0.43849 | 0.46811 | 94.3341 | 4.5118 | 0.18056 | 0.011091 | 0.010596 | 0.0004454 | 0.0028222 | 0.0012678 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211123 | 25698.7073 | 661.8639 | 5691.2962 | 9.348 | 100 | 0.58516 | 38.8277 | 0.44255 | 0.4828 | 94.3174 | 4.5174 | 0.17338 | 0.011043 | 0.010585 | 0.0006198 | 0.0025386 | 0.0009437 | 0 | 0 | 0.040113 | St. Lawrence
50162 | 20211124 | 22312.6038 | 575.1426 | 5856.0239 | 9.4915 | 100 | 0.58514 | 38.7947 | 0.44931 | 0.51244 | 94.3262 | 4.4906 | 0.15938 | 0.0094154 | 0.0091985 | 8.74e-05 | 0.0016699 | 0.0001226 | 0 | 0 | 0.040018 | St. Lawrence
50162 | 20211125 | 19232.1601 | 494.6391 | 5954.984 | 9.3436 | 100 | 0.58548 | 38.8822 | 0.43515 | 0.45031 | 94.2256 | 4.6493 | 0.17066 | 0.011917 | 0.011063 | 0.0009863 | 0.0028687 | 0.0013303 | 0.0008002 | 0 | 0.04 | St. Lawrence
50162 | 20211126 | 23138.2181 | 593.7968 | 5807.6368 | 8.5608 | 100 | 0.58662 | 38.9669 | 0.43537 | 0.43029 | 94.0005 | 4.8734 | 0.18644 | 0.013617 | 0.012319 | 0.0014917 | 0.0030769 | 0.0015385 | 0.0014663 | 0 | 0.04 | St. Lawrence
50162 | 20211127 | 24817.5824 | 636.3782 | 5614.9607 | 8.5448 | 100 | 0.58686 | 38.9983 | 0.43184 | 0.41476 | 93.9435 | 4.9438 | 0.19013 | 0.014605 | 0.013258 | 0.0015385 | 0.0031493 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211128 | 25076.5433 | 643.4414 | 5723.0879 | 8.7301 | 100 | 0.58656 | 38.9723 | 0.43085 | 0.42431 | 94.0072 | 4.8773 | 0.18601 | 0.013789 | 0.013142 | 0.0014191 | 0.0030861 | 0.0015385 | 0.0013609 | 0 | 0.04 | St. Lawrence
50162 | 20211129 | 25329.9212 | 649.4539 | 5489.4361 | 8.7904 | 100 | 0.58652 | 39.002 | 0.42459 | 0.39419 | 93.9976 | 4.9157 | 0.19204 | 0.014324 | 0.013634 | 0.0015207 | 0.0030769 | 0.0015385 | 0.0015119 | 0 | 0.04 | St. Lawrence
50162 | 20211130 | 24034.0857 | 615.9486 | 5345.9122 | 8.6031 | 100 | 0.58692 | 39.0197 | 0.42795 | 0.39807 | 93.9219 | 4.9818 | 0.19407 | 0.014478 | 0.013715 | 0.0015385 | 0.0030769 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence

## SLG Report
Device ID | Time Stamp | Daily Period | N2 | CO2 | Methane | Ethylene | Ethane | Propane | Isobutane | NC4 | Neopentane | Isopentane | NC5 | C6+ | Heaxane | Heptane | Octane | Nonane | H2S | BTU/scf | Rel. Dens. | Wet BTU/cf | Compressibility | Superior Wobbe | Normal Density | Dry BTU | GPM | Unorm. Total
STREAM 1 | 2021-11-01 | 1550 | 0.47516 | 0.56577 | 94.0828 | 0 | 4.7584 | 0.1083 | 0.0051205 | 0.003469 | 0 | 0.0006946 | 0.0002455 | 0.00012449 | 0.00012449 | 0 | 0 | 0 | 0 | 1037.4929 | 0.58664 | 1024.0725 | 0.99781 | 1360.676 | 0.044893 | 1042.1744 | 17.438 | 100.0534
STREAM 1 | 2021-11-02 | 1551 | 0.46875 | 0.51678 | 94.3026 | 0 | 4.5885 | 0.11108 | 0.0057155 | 0.0042904 | 0 | 0.0010144 | 0.0006314 | 0.00057463 | 0.00057463 | 0 | 0 | 0 | 0 | 1036.8738 | 0.58538 | 1023.4531 | 0.99782 | 1361.3094 | 0.044797 | 1041.5444 | 17.4223 | 100.3634
STREAM 1 | 2021-11-03 | 1552 | 0.47133 | 0.5089 | 94.3602 | 0 | 4.5387 | 0.10881 | 0.0056884 | 0.0043043 | 0 | 0.0010096 | 0.00055096 | 0.00051555 | 0.00051555 | 0 | 0 | 0 | 0 | 1036.5089 | 0.58505 | 1023.0902 | 0.99782 | 1361.2169 | 0.044771 | 1041.1752 | 17.4169 | 100.1449
STREAM 1 | 2021-11-04 | 1553 | 0.44623 | 0.46993 | 94.3138 | 0 | 4.6266 | 0.12613 | 0.0076213 | 0.0063601 | 0 | 0.0014815 | 0.00091046 | 0.00092853 | 0.00092853 | 0 | 0 | 0 | 0 | 1038.2151 | 0.58525 | 1024.7802 | 0.99782 | 1363.2299 | 0.044787 | 1042.8947 | 17.4298 | 100.1936
STREAM 1 | 2021-11-05 | 1554 | 0.4181 | 0.38681 | 94.1631 | 0 | 4.8335 | 0.16675 | 0.012477 | 0.012138 | 0 | 0.0029835 | 0.0018039 | 0.0023424 | 0.0023424 | 0 | 0 | 0 | 0 | 1041.8857 | 0.58597 | 1028.4174 | 0.9978 | 1367.2266 | 0.044842 | 1046.5964 | 17.4587 | 100.1423
STREAM 1 | 2021-11-06 | 1555 | 0.44681 | 0.43588 | 94.046 | 0 | 4.8727 | 0.16738 | 0.012254 | 0.011764 | 0 | 0.0029418 | 0.0017741 | 0.0025367 | 0.0025367 | 0 | 0 | 0 | 0 | 1041.3989 | 0.58676 | 1027.9397 | 0.9978 | 1365.6765 | 0.044902 | 1046.1105 | 17.4609 | 100.1349
STREAM 1 | 2021-11-07 | 1556 | 0.53968 | 0.51524 | 94.0368 | 0 | 4.7448 | 0.14241 | 0.0089383 | 0.0076987 | 0 | 0.0018606 | 0.0011504 | 0.0013739 | 0.0013739 | 0 | 0 | 0 | 0 | 1038.0524 | 0.58687 | 1024.6252 | 0.99781 | 1361.1395 | 0.044911 | 1042.7377 | 17.4384 | 99.7949
STREAM 1 | 2021-11-08 | 1557 | 0.54305 | 0.53385 | 94.0668 | 0 | 4.7044 | 0.13363 | 0.0080058 | 0.006721 | 0 | 0.0015893 | 0.00097868 | 0.0010406 | 0.0010406 | 0 | 0 | 0 | 0 | 1037.3217 | 0.58674 | 1023.9019 | 0.99781 | 1360.3329 | 0.0449 | 1042.0012 | 17.4328 | 99.6953
STREAM 1 | 2021-11-09 | 1558 | 0.52384 | 0.53563 | 94.0079 | 0 | 4.765 | 0.14639 | 0.0092314 | 0.0078774 | 0 | 0.001839 | 0.0011496 | 0.0011576 | 0.0011576 | 0 | 0 | 0 | 0 | 1038.2211 | 0.58714 | 1024.7946 | 0.99781 | 1361.0507 | 0.044931 | 1042.9087 | 17.4418 | 99.6541
STREAM 1 | 2021-11-10 | 1559 | 0.49518 | 0.5646 | 93.8748 | 0 | 4.8927 | 0.1541 | 0.0085666 | 0.0066675 | 0 | 0.0015699 | 0.00098512 | 0.00089568 | 0.00089568 | 0 | 0 | 0 | 0 | 1039.2388 | 0.58796 | 1025.8063 | 0.9978 | 1361.4462 | 0.044994 | 1043.9399 | 17.4566 | 100.0166
STREAM 1 | 2021-11-11 | 1560 | 0.49916 | 0.58061 | 93.668 | 0 | 5.0581 | 0.17649 | 0.0085112 | 0.0061305 | 0 | 0.0013401 | 0.00086624 | 0.00073829 | 0.00073829 | 0 | 0 | 0 | 0 | 1040.6022 | 0.58914 | 1027.1619 | 0.99779 | 1361.8812 | 0.045084 | 1045.3184 | 17.4749 | 100.3401
STREAM 1 | 2021-11-12 | 1561 | 0.50166 | 0.60243 | 93.5042 | 0 | 5.2074 | 0.16709 | 0.0082331 | 0.0060345 | 0 | 0.0013268 | 0.00085399 | 0.00069396 | 0.00069396 | 0 | 0 | 0 | 0 | 1041.3381 | 0.58999 | 1027.8945 | 0.99778 | 1361.8695 | 0.045149 | 1046.064 | 17.4885 | 99.8983
STREAM 1 | 2021-11-13 | 1562 | 0.48115 | 0.57343 | 93.7446 | 0 | 5.0513 | 0.13393 | 0.0072874 | 0.0053619 | 0 | 0.0013043 | 0.00083308 | 0.000726 | 0.000726 | 0 | 0 | 0 | 0 | 1040.1162 | 0.58852 | 1026.6783 | 0.99779 | 1361.9609 | 0.045036 | 1044.8269 | 17.4704 | 99.6429
STREAM 1 | 2021-11-14 | 1563 | 0.48074 | 0.60758 | 93.8777 | 0 | 4.9035 | 0.11732 | 0.0062886 | 0.0043887 | 0 | 0.0011418 | 0.00075575 | 0.00059625 | 0.00059625 | 0 | 0 | 0 | 0 | 1038.3463 | 0.58793 | 1024.9229 | 0.9978 | 1360.3154 | 0.044991 | 1043.0404 | 17.4537 | 99.7033
STREAM 1 | 2021-11-15 | 1564 | 0.44827 | 0.49684 | 94.2425 | 0 | 4.637 | 0.15286 | 0.0099733 | 0.0079999 | 0 | 0.0020403 | 0.0012121 | 0.0013118 | 0.0013118 | 0 | 0 | 0 | 0 | 1038.5341 | 0.58592 | 1025.0991 | 0.99781 | 1362.882 | 0.044837 | 1043.2197 | 17.4345 | 99.7203
STREAM 1 | 2021-11-16 | 1565 | 0.40921 | 0.41573 | 94.0826 | 0 | 4.8665 | 0.19033 | 0.014487 | 0.013443 | 0 | 0.0033952 | 0.0019191 | 0.0024115 | 0.0024115 | 0 | 0 | 0 | 0 | 1042.3827 | 0.58667 | 1028.9126 | 0.9978 | 1367.0747 | 0.044895 | 1047.1002 | 17.4657 | 100.0877
STREAM 1 | 2021-11-17 | 1566 | 0.41943 | 0.41573 | 94.064 | 0 | 4.866 | 0.19561 | 0.015427 | 0.01503 | 2.8197e-06 | 0.0037452 | 0.0022677 | 0.0027248 | 0.0027248 | 0 | 0 | 0 | 0 | 1042.4445 | 0.58682 | 1028.9749 | 0.9978 | 1366.9819 | 0.044906 | 1047.1636 | 17.4662 | 99.8453
STREAM 1 | 2021-11-18 | 1567 | 0.43176 | 0.45266 | 94.2159 | 0 | 4.6859 | 0.1803 | 0.013287 | 0.012709 | 0 | 0.0031645 | 0.001996 | 0.0022847 | 0.0022847 | 0 | 0 | 0 | 0 | 1040.2064 | 0.58611 | 1026.7552 | 0.9978 | 1364.8622 | 0.044852 | 1044.9049 | 17.4451 | 99.4004
STREAM 1 | 2021-11-19 | 1568 | 0.42366 | 0.46403 | 94.258 | 0 | 4.637 | 0.18463 | 0.013053 | 0.012375 | 0 | 0.0030981 | 0.0019802 | 0.0021874 | 0.0021874 | 0 | 0 | 0 | 0 | 1039.848 | 0.58597 | 1026.3999 | 0.99781 | 1364.5435 | 0.044842 | 1044.5428 | 17.4411 | 99.8818
STREAM 1 | 2021-11-20 | 1569 | 0.41202 | 0.44148 | 94.413 | 0 | 4.5169 | 0.18413 | 0.013049 | 0.01229 | 0 | 0.0030684 | 0.0020073 | 0.0021606 | 0.0021606 | 0 | 0 | 0 | 0 | 1039.2697 | 0.58511 | 1025.8235 | 0.99781 | 1364.7789 | 0.044776 | 1043.9564 | 17.4298 | 100.1081
STREAM 1 | 2021-11-21 | 1570 | 0.41413 | 0.43852 | 94.3546 | 0 | 4.5697 | 0.18812 | 0.013819 | 0.013356 | 0 | 0.0032578 | 0.0021689 | 0.0023204 | 0.0023204 | 0 | 0 | 0 | 0 | 1039.7972 | 0.58543 | 1026.3473 | 0.99781 | 1365.109 | 0.0448 | 1044.4897 | 17.4357 | 99.734
STREAM 1 | 2021-11-22 | 1571 | 0.43205 | 0.49959 | 94.335 | 0 | 4.5401 | 0.16598 | 0.011043 | 0.010166 | 0 | 0.0025291 | 0.001712 | 0.0018088 | 0.0018088 | 0 | 0 | 0 | 0 | 1038.2527 | 0.58561 | 1024.8197 | 0.99781 | 1362.8645 | 0.044814 | 1042.9346 | 17.4281 | 99.355
STREAM 1 | 2021-11-23 | 1572 | 0.40691 | 0.42544 | 94.3577 | 0 | 4.599 | 0.17605 | 0.013385 | 0.013304 | 0 | 0.0033565 | 0.0022014 | 0.0026008 | 0.0026008 | 0 | 0 | 0 | 0 | 1040.047 | 0.5853 | 1026.5942 | 0.99781 | 1365.5869 | 0.04479 | 1044.7408 | 17.4377 | 99.664
STREAM 1 | 2021-11-24 | 1573 | 0.40175 | 0.37916 | 93.9914 | 0 | 4.9774 | 0.20534 | 0.016718 | 0.017218 | 3.2047e-06 | 0.0043178 | 0.0027961 | 0.003865 | 0.003865 | 0 | 0 | 0 | 0 | 1044.1395 | 0.58713 | 1030.6538 | 0.99779 | 1368.8511 | 0.04493 | 1048.8722 | 17.4803 | 99.8944
STREAM 1 | 2021-11-25 | 1574 | 0.40451 | 0.3735 | 93.9145 | 0 | 5.0578 | 0.20496 | 0.016744 | 0.016948 | 0 | 0.004296 | 0.0027203 | 0.0040144 | 0.0040144 | 0 | 0 | 0 | 0 | 1044.7706 | 0.58747 | 1031.2809 | 0.99779 | 1369.2836 | 0.044956 | 1049.511 | 17.488 | 99.5026
STREAM 1 | 2021-11-26 | 1575 | 0.40025 | 0.38669 | 94.0072 | 0 | 4.9597 | 0.20188 | 0.016767 | 0.016821 | 0 | 0.0043097 | 0.0026124 | 0.00375 | 0.00375 | 0 | 0 | 0 | 0 | 1043.8737 | 0.58706 | 1030.3912 | 0.99779 | 1368.5771 | 0.044925 | 1048.6051 | 17.4782 | 99.0227
STREAM 1 | 2021-11-27 | 1576 | 0.38882 | 0.35207 | 94.0445 | 0 | 4.966 | 0.20395 | 0.017165 | 0.017005 | 0 | 0.0043261 | 0.002631 | 0.0035439 | 0.0035439 | 0 | 0 | 0 | 0 | 1044.4242 | 0.58674 | 1030.9344 | 0.99779 | 1369.6814 | 0.0449 | 1049.1581 | 17.4797 | 99.4581
STREAM 1 | 2021-11-28 | 1577 | 0.39026 | 0.34462 | 93.9 | 0 | 5.1081 | 0.21109 | 0.017683 | 0.017311 | 0 | 0.0044314 | 0.0027119 | 0.0038126 | 0.0038126 | 0 | 0 | 0 | 0 | 1045.7059 | 0.58745 | 1032.2064 | 0.99779 | 1370.5321 | 0.044955 | 1050.4528 | 17.4946 | 99.7033
STREAM 1 | 2021-11-29 | 1578 | 0.39818 | 0.35845 | 93.8369 | 0 | 5.1469 | 0.21247 | 0.017835 | 0.017604 | 0 | 0.0045939 | 0.0028249 | 0.0042199 | 0.0042199 | 0 | 0 | 0 | 0 | 1045.8359 | 0.58785 | 1032.337 | 0.99778 | 1370.2489 | 0.044985 | 1050.5861 | 17.4984 | 99.7791
STREAM 1 | 2021-11-30 | 1579 | 0.40413 | 0.36062 | 93.6997 | 0 | 5.2753 | 0.21229 | 0.018113 | 0.017892 | 0 | 0.004697 | 0.0028855 | 0.0043123 | 0.0043123 | 0 | 0 | 0 | 0 | 1046.7478 | 0.58853 | 1033.2435 | 0.99778 | 1370.6544 | 0.045037 | 1051.5078 | 17.5109 | 99.5995
Averages |  |  | 0.44587 | 0.46675 | [15 empty] | 1040.7297 | 0.58682 | 1027.2771 | 0.9978 | 1364.7281 | 0.044906 | 1045.436 | 17.4566 | 99.8178