## App7-B - Form B
APPENDIX 7-B
MONTHLY GAS QUALITY REPORT
STATE OF NEW YORK PUBLIC SERVICE COMMISSION
COMPANY | St. Lawrence Gas Co., Inc. |  |  |  | FOR THE MONTH OF: | 2021-12-01
STATIONS | TCPL - St. Lawrence Gate, Canada / SLG - Valve "A", Massena, NY / IGTS - Shelton, CT
GAS TYPES | Natural Gas |  |  |  | WHERE OBTAINED: | SLG Valve A Stream 1
| Average Heating Value |  |  |  |  | Average Specific Gravity (Air=1)
| MJ/m3 | Btu/ft3 - dry | Btu/ft3 - dry | Btu/ft3 - wet | Btu/ft3 - dry
STATION | St Law Gt | St Law Gt | VALVE "A" | VALVE "A" | SHELTON | St Law Gt | VALVE "A" | SHELTON | Delta
DATE | [8 empty] | TCPL/SLG | IGTS/SLG | TCPL/IGTS
1 | 39.0375 | 1047.7321 | 1047.6692 | 1034.158 |  | 0.58745 | 0.58907 |  | 0.062868 | -1047.6692 | 1047.7321
2 | 39.1051 | 1049.5483 | 1046.3182 | 1032.8225 |  | 0.58873 | 0.58933 |  | 3.2301 | -1046.3182 | 1049.5483
3 | 39.1293 | 1050.1964 | 1045.9613 | 1032.4709 |  | 0.58924 | 0.58974 |  | 4.2351 | -1045.9613 | 1050.1964
4 | 39.0739 | 1048.7112 | 1047.3135 | 1033.8113 |  | 0.58982 | 0.58992 |  | 1.3977 | -1047.3135 | 1048.7112
5 | 39.0758 | 1048.7616 | 1049.1432 | 1035.6292 |  | 0.59033 | 0.59131 |  | -0.38156 | -1049.1432 | 1048.7616
6 | 39.1395 | 1050.4707 | 1047.2449 | 1033.7452 |  | 0.59056 | 0.59053 |  | 3.2258 | -1047.2449 | 1050.4707
7 | 39.1602 | 1051.0268 | 1047.3085 | 1033.8052 |  | 0.59154 | 0.58981 |  | 3.7183 | -1047.3085 | 1051.0268
8 | 39.1043 | 1049.5263 | 1047.717 | 1034.2125 |  | 0.58984 | 0.59026 |  | 1.8093 | -1047.717 | 1049.5263
9 | 39.1253 | 1050.089 | 1048.5342 | 1035.0209 |  | 0.58969 | 0.59049 |  | 1.5548 | -1048.5342 | 1050.089
10 | 39.1299 | 1050.214 | 1047.5935 | 1034.09 |  | 0.58971 | 0.59035 |  | 2.6205 | -1047.5935 | 1050.214
11 | 39.1501 | 1050.7552 | 1045.4584 | 1031.9766 |  | 0.5905 | 0.5905 |  | 5.2968 | -1045.4584 | 1050.7552
12 | 39.1311 | 1050.2466 | 1043.981 | 1030.515 |  | 0.59037 | 0.59066 |  | 6.2656 | -1043.981 | 1050.2466
13 | 39.0505 | 1048.0816 | 1044.0718 | 1030.606 |  | 0.59025 | 0.59076 |  | 4.0098 | -1044.0718 | 1048.0816
14 | 39.0549 | 1048.2002 | 1043.4968 | 1030.0327 |  | 0.59034 | 0.59006 |  | 4.7034 | -1043.4968 | 1048.2002
15 | 39.0354 | 1047.6759 | 1043.3873 | 1029.9241 |  | 0.59028 | 0.58997 |  | 4.2886 | -1043.3873 | 1047.6759
16 | 39.0159 | 1047.1529 | 1043.2606 | 1029.7974 |  | 0.5897 | 0.58986 |  | 3.8923 | -1043.2606 | 1047.1529
17 | 39.0106 | 1047.0114 | 1042.0037 | 1028.5524 |  | 0.58941 | 0.5897 |  | 5.0077 | -1042.0037 | 1047.0114
18 | 38.9914 | 1046.495 | 1043.3124 | 1029.8489 |  | 0.58956 | 0.58983 |  | 3.1826 | -1043.3124 | 1046.495
19 | 38.9816 | 1046.233 | 1045.3795 | 1031.8917 |  | 0.58955 | 0.58983 |  | 0.85351 | -1045.3795 | 1046.233
20 | 39.0137 | 1047.0958 | 1048.3264 | 1034.8147 |  | 0.58919 | 0.59034 |  | -1.2306 | -1048.3264 | 1047.0958
21 | 39.0388 | 1047.7678 | 1049.8845 | 1036.3593 |  | 0.5893 | 0.59068 |  | -2.1167 | -1049.8845 | 1047.7678
22 | 39.1636 | 1051.1164 | 1048.2534 | 1034.7424 |  | 0.58997 | 0.59022 |  | 2.863 | -1048.2534 | 1051.1164
23 | 39.214 | 1052.4715 | 1047.3336 | 1033.8303 |  | 0.59025 | 0.58987 |  | 5.1379 | -1047.3336 | 1052.4715
24 | 39.1562 | 1050.9202 | 1047.506 | 1034.0022 |  | 0.58991 | 0.5901 |  | 3.4142 | -1047.506 | 1050.9202
25 | 39.1263 | 1050.1166 | 1046.6208 | 1033.1239 |  | 0.58944 | 0.58983 |  | 3.4958 | -1046.6208 | 1050.1166
26 | 39.1237 | 1050.0479 | 1041.8901 | 1028.4349 |  | 0.58953 | 0.58867 |  | 8.1578 | -1041.8901 | 1050.0479
27 | 39.057 | 1048.2563 | 1041.9834 | 1028.5242 |  | 0.58925 | 0.588 |  | 6.2729 | -1041.9834 | 1048.2563
28 | 38.9274 | 1044.7772 | 1047.0251 | 1033.5201 |  | 0.58793 | 0.58888 |  | -2.2479 | -1047.0251 | 1044.7772
29 | 0 | 0 | 1046.6864 | 1033.1851 |  | 0 | 0.58903 |  | -1046.6864 | -1046.6864 | 0
30 | 0 | 0 | 1044.0811 | 1030.6022 |  | 0 | 0.58829 |  | -1044.0811 | -1044.0811 | 0
31 | 0 | 0 | 1040.8851 | 1027.4352 |  | 0 | 0.58775 |  | -1040.8851 | -1040.8851 | 0
Average | 35.3007 | 947.4419 | 1045.7945 | 1032.306 | #DIV/0! | 0.53263 | 0.5898 | #DIV/0!
Min. | 0 | 0 | 1040.8851 | 1027.4352 | 0 | 0 | 0.58775 | 0
Max. | 39.214 | 1052.4715 | 1049.8845 | 1036.3593 | 0 | 0.59154 | 0.59131 | 0

## App7-B - Form C
APPENDIX 7-B
MONTHLY GAS QUALITY REPORT - NEW YORK STATE PUBLIC SERVICE COMMISSION
Recording Calorimeter Calibration | [7 empty] | Total Sulfur Determination
Date | Station | Method | Before Adjustment (BTU/Cf) |  |  | After Adjustment (BTU/Cf) |  | Station | Gas Type | Where Obtained | Date Sampled | Date Tested | Result (gms/Ccf or mg/m3)
|  |  | Standard | Recording Calorimeter | Error | Recording Calorimeter | Error | D148 | Natural | St Law Gt | daily ave. | daily ave.
| Valve "A" | Automatic Daily Calibration to Known Standard | [5 empty] | Shelton | Natural | igts_gq1 | daily ave. | daily ave. | 2.71 ppm
Ammonia Determination
[8 empty] | Station | Gas Type | Where Obtained | Date Sampled | Date Tested | Result (gms/Ccf or mg/m3)
Hydrogen Sulfide Determination
Did the daily tests indicate that hydrogen sulfide was absent throughout the entire month at each stations? ¢ Yes £ No (see details on SLG Report tab) - Valve "A" only
Specific Gravity (Relative Density) Equipment Calibration
Date | Station | Method | Before Adjustment (Air = 1) |  |  | After Adjustment (Air = 1) |  | If any instance of non-compliance and/or emergency relevant to Rules 100 through 180 fo the PSC Gas Code occurred during the month, submit details on a separate sheet of paper.
|  |  | Standard | Sp Gravity Equipment | Error | Sp Gravity Equipment | Error
| D148 | Acme Gravity Balance | [5 empty] | Signed:
Daily | Valve "A" | Automatic Daily Calibration to Known Standard | [5 empty] | Title: | Supervisor Measurement, Regulation & Corrosion
[8 empty] | Date: | 2021-02-10
Signed:
[8 empty] | Title: | Manager Engineering Materials Evaluation Centre
Date:
Station | Gas Type | Where Obtained | Sampled |  | Tested |  |  | % Dry Analysis
|  |  | Date | Where | Date | Where | Method | CO2 | III | O2 | CO | H2 | CH4 | C2H6
St Law Gt | Natural Gas | St Law Gt | Daily | D148 | Daily | D148 | Chrmtgrph | SEE StLawGate-TCPL REPORT (DAILY ANALYSIS)
[8 empty] | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
Valve "A" | Natural Gas | Valve "A" | Daily | Valve "A" | Daily | Valve "A" | ABB | CO2 | III | O2 | CO | H2 | CH4 | C2H6
[7 empty] | NGC8206 | SEE SLG REPORT (DAILY ANALYSIS)
[7 empty] | Automatic | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
Shelton | Natural Gas | igts_gq1 | Daily | Shelton | Daily | Shelton | not spec'd | CO2 | III | O2 | CO | H2 | CH4 | C2H6
[7 empty] | monthly ave | 0.5923 |  |  |  |  | 93.9641 | 0.46979
[8 empty] | C3H8 | I-C4H10 | N-C4H10 | N & I - C5H12 | C6H14 | C7H16 | N2
[8 empty] | 0.1458 | 0.0098 | 0.0095 | 0.0001 | 0.007 | 0.02 | 0.5572
Note on N33: Preferred Customer: Methane
Note on O33: Preferred Customer: Ethane
Note on I36: Preferred Customer: Propane
Note on J36: Preferred Customer: Iso-Butane
Note on K36: Preferred Customer: N-Butane
Note on L36: Preferred Customer: Add Pentanes
Note on M36: Preferred Customer: Hexane

## StLawGate-TCPL
Volume/Energy/Composition Report
Volume in E+03M3 at 101.325 kPa 15 DegC
As Of: | [7 empty] | energy | nitrogen | carb-diox | methane | ethane | propane | n-butane | i-butane | n-pentane | i-pentane | hexane | c6+ | c6+
Stn No | GasDay | Egy | Vol | Press | Temp | Accpt | SG | HV | N2 | CO2 | C1 | C2 | C3 | NC4 | IC4 | NC5 | IC5 | NC6 | NC7 | NC8 | HE | Stn Name
|  | GJ | E3M3 | kPa | C | % |  | MJ/M3 | % | % | % | % | % | % | % | % | % | % | % | % | %
50162 | 20211201 | 23563.1524 | 603.6055 | 5450.7049 | 8.5737 | 100 | 0.58745 | 39.0375 | 0.43592 | 0.40695 | 93.8179 | 5.0722 | 0.19089 | 0.014217 | 0.013774 | 0.0015385 | 0.0030769 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211202 | 23278.4906 | 595.2842 | 5940.6291 | 8.4431 | 100 | 0.58873 | 39.1051 | 0.43908 | 0.41291 | 93.5646 | 5.3132 | 0.19253 | 0.014842 | 0.013966 | 0.0015385 | 0.0032412 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211203 | 25928.0741 | 662.627 | 5823.1287 | 7.3835 | 100 | 0.58924 | 39.1293 | 0.43271 | 0.42339 | 93.4602 | 5.422 | 0.18661 | 0.014088 | 0.013067 | 0.0015385 | 0.0030984 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211204 | 23674.3076 | 605.8806 | 5977.9167 | 7.1232 | 100 | 0.58982 | 39.0739 | 0.45827 | 0.50147 | 93.3704 | 5.4398 | 0.16277 | 0.011238 | 0.01056 | 0.0001965 | 0.0030769 | 0.0015385 | 0.0004885 | 0 | 0.04 | St. Lawrence
50162 | 20211205 | 21314.7221 | 545.4717 | 5954.2139 | 6.8621 | 100 | 0.59033 | 39.0758 | 0.46458 | 0.52668 | 93.2832 | 5.5009 | 0.15903 | 0.010455 | 0.010257 | 0 | 0.0030232 | 0.001431 | 4.74e-05 | 0 | 0.04 | St. Lawrence
50162 | 20211206 | 22656.1747 | 578.8615 | 5911.7912 | 7.8236 | 100 | 0.59056 | 39.1395 | 0.44754 | 0.48447 | 93.2262 | 5.5949 | 0.17637 | 0.012209 | 0.012023 | 0.0007023 | 0.0030701 | 0.0015249 | 0.0011377 | 0 | 0.04 | St. Lawrence
50162 | 20211207 | 28176.5531 | 719.5259 | 5661.0565 | 7.7099 | 100 | 0.59154 | 39.1602 | 0.4726 | 0.50706 | 93.0374 | 5.7355 | 0.18063 | 0.01088 | 0.011114 | 0.0001816 | 0.0029177 | 0.0013781 | 0.0002048 | 0 | 0.04 | St. Lawrence
50162 | 20211208 | 26867.0797 | 687.0582 | 5600.756 | 6.6673 | 100 | 0.58984 | 39.1043 | 0.47003 | 0.4623 | 93.3364 | 5.49 | 0.17479 | 0.010686 | 0.010843 | 7.9e-06 | 0.003054 | 0.0013973 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211209 | 25445.8208 | 650.3699 | 5853.9255 | 6.3386 | 100 | 0.58969 | 39.1253 | 0.46234 | 0.43612 | 93.349 | 5.5075 | 0.17644 | 0.011643 | 0.011957 | 6.13e-05 | 0.0030769 | 0.0015199 | 0.0001161 | 0 | 0.04 | St. Lawrence
50162 | 20211210 | 22365.518 | 571.5705 | 5911.748 | 6.368 | 100 | 0.58971 | 39.1299 | 0.46127 | 0.43302 | 93.3436 | 5.5163 | 0.17684 | 0.011795 | 0.012137 | 7.12e-05 | 0.0030769 | 0.0015385 | 0.0001348 | 0 | 0.04 | St. Lawrence
50162 | 20211211 | 19538.6067 | 499.0712 | 5976.2018 | 7.2961 | 100 | 0.5905 | 39.1501 | 0.45889 | 0.46199 | 93.2266 | 5.5983 | 0.18111 | 0.013127 | 0.012735 | 0.0012963 | 0.0030769 | 0.0015385 | 0.0013607 | 0 | 0.04 | St. Lawrence
50162 | 20211212 | 20643.1045 | 527.5345 | 5743.6198 | 7.6896 | 100 | 0.59037 | 39.1311 | 0.45855 | 0.47438 | 93.2612 | 5.5548 | 0.17866 | 0.012849 | 0.012164 | 0.0014261 | 0.0030769 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211213 | 21342.7189 | 546.5373 | 5609.8963 | 7.6628 | 100 | 0.59025 | 39.0505 | 0.48388 | 0.53569 | 93.2958 | 5.4676 | 0.15268 | 0.0097793 | 0.0096346 | 0.0005298 | 0.0020867 | 0.0007195 | 0.0005438 | 0 | 0.04 | St. Lawrence
50162 | 20211214 | 24073.1399 | 616.3937 | 5501.2167 | 7.2679 | 100 | 0.59034 | 39.0549 | 0.47089 | 0.54533 | 93.2859 | 5.4824 | 0.15225 | 0.0092066 | 0.0091982 | 4.99e-05 | 0.0022224 | 0.0013265 | 4.99e-05 | 0 | 0.04 | St. Lawrence
50162 | 20211215 | 20194.467 | 517.3354 | 5866.0863 | 6.3027 | 100 | 0.59028 | 39.0354 | 0.47169 | 0.56192 | 93.2858 | 5.4865 | 0.13578 | 0.0075823 | 0.0077555 | 0 | 0.0012422 | 0.000202 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211216 | 16706.7465 | 428.2029 | 5979.5714 | 8.0697 | 100 | 0.5897 | 39.0159 | 0.48146 | 0.54046 | 93.3871 | 5.394 | 0.13755 | 0.008323 | 0.0081742 | 0 | 0.0014878 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211217 | 23148.0704 | 593.3786 | 5846.2344 | 7.3816 | 100 | 0.58941 | 39.0106 | 0.49496 | 0.51896 | 93.4358 | 5.3409 | 0.14752 | 0.0088982 | 0.0094275 | 0 | 0.001502 | 0 | 0 | 0 | 0.040318 | St. Lawrence
50162 | 20211218 | 24680.8773 | 632.9809 | 5800.3818 | 7.0152 | 100 | 0.58956 | 38.9914 | 0.50073 | 0.54453 | 93.4201 | 5.3334 | 0.14188 | 0.0078963 | 0.008455 | 0 | 0.0011803 | 0 | 0 | 0 | 0.040042 | St. Lawrence
50162 | 20211219 | 27931.5263 | 716.5303 | 5531.7898 | 6.4518 | 100 | 0.58955 | 38.9816 | 0.50723 | 0.55049 | 93.4184 | 5.3307 | 0.13491 | 0.0076407 | 0.008045 | 0 | 0.0013196 | 0 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211220 | 25148.4483 | 644.6073 | 5368.6619 | 7.0416 | 100 | 0.58919 | 39.0137 | 0.48768 | 0.50695 | 93.473 | 5.3216 | 0.14825 | 0.0091902 | 0.0093579 | 0 | 0.0020488 | 0.0008087 | 0 | 0 | 0.04 | St. Lawrence
50162 | 20211221 | 25230.6415 | 646.3209 | 5380.0987 | 6.8298 | 100 | 0.5893 | 39.0388 | 0.4838 | 0.4897 | 93.4479 | 5.3572 | 0.15721 | 0.0099947 | 0.010072 | 5.47e-05 | 0.0024453 | 0.0011874 | 2.7e-05 | 0 | 0.04 | St. Lawrence
50162 | 20211222 | 26596.1861 | 679.1148 | 5481.5101 | 6.5875 | 100 | 0.58997 | 39.1636 | 0.46228 | 0.41241 | 93.324 | 5.5188 | 0.20147 | 0.016203 | 0.015481 | 0.0016875 | 0.004251 | 0.0015385 | 0.001367 | 0 | 0.04 | St. Lawrence
50162 | 20211223 | 28708.9005 | 732.1116 | 5627.5581 | 6.6822 | 100 | 0.59025 | 39.214 | 0.44199 | 0.38971 | 93.2687 | 5.6037 | 0.20994 | 0.017986 | 0.016932 | 0.0026521 | 0.0045926 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211224 | 25202.7465 | 643.6416 | 5730.0901 | 6.5661 | 100 | 0.58991 | 39.1562 | 0.45188 | 0.42342 | 93.3469 | 5.4995 | 0.19781 | 0.016091 | 0.01472 | 0.0020962 | 0.0038814 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211225 | 22380.0956 | 571.9937 | 5796.8329 | 6.6099 | 100 | 0.58944 | 39.1263 | 0.44731 | 0.42918 | 93.4619 | 5.3719 | 0.20725 | 0.016983 | 0.015556 | 0.002274 | 0.004495 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211226 | 24747.5629 | 632.546 | 5741.0928 | 6.5777 | 100 | 0.58953 | 39.1237 | 0.44413 | 0.43926 | 93.4811 | 5.323 | 0.22624 | 0.018355 | 0.017275 | 0.0023181 | 0.0043893 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211227 | 28050.319 | 718.1835 | 5668.4007 | 6.368 | 100 | 0.58925 | 39.057 | 0.4609 | 0.48154 | 93.5157 | 5.2762 | 0.19112 | 0.013623 | 0.013107 | 0.0012366 | 0.0032312 | 0.0015385 | 0.0015385 | 0 | 0.04 | St. Lawrence
50162 | 20211228 | 24762.2559 | 636.1033 | 5797.6068 | 6.7111 | 100 | 0.58793 | 38.9274 | 0.49249 | 0.51694 | 93.7645 | 5.0001 | 0.16024 | 0.010777 | 0.010332 | 0.0001455 | 0.002516 | 0.0015385 | 0.0013057 | 0 | 0.04 | St. Lawrence

## SLG Report
Device ID | Time Stamp | Daily Period | N2 | CO2 | Methane | Ethylene | Ethane | Propane | Isobutane | NC4 | Neopentane | Isopentane | NC5 | C6+ | Heaxane | Heptane | Octane | Nonane | H2S | BTU/scf | Rel. Dens. | Wet BTU/cf | Compressibility | Superior Wobbe | Normal Density | Dry BTU | GPM | Unorm. Total
STREAM 1 | 2021-12-01 | 1580 | 0.3983 | 0.36105 | 93.5884 | 0 | 5.3939 | 0.21147 | 0.017698 | 0.017377 | 3.1453e-06 | 0.0045541 | 0.0027172 | 0.0045471 | 0.0045471 | 0 | 0 | 0 | 0 | 1047.6692 | 0.58907 | 1034.158 | 0.99777 | 1371.2437 | 0.045079 | 1052.4396 | 17.5227 | 100.0449
STREAM 1 | 2021-12-02 | 1581 | 0.41654 | 0.41908 | 93.5532 | 0 | 5.3805 | 0.19032 | 0.01512 | 0.014833 | 0 | 0.0039485 | 0.002362 | 0.0041178 | 0.0041178 | 0 | 0 | 0 | 0 | 1046.3182 | 0.58933 | 1032.8225 | 0.99777 | 1369.1692 | 0.045099 | 1051.0804 | 17.517 | 99.471
STREAM 1 | 2021-12-03 | 1582 | 0.42338 | 0.45445 | 93.4927 | 0 | 5.4048 | 0.1861 | 0.014758 | 0.014168 | 0 | 0.0037629 | 0.002201 | 0.0036168 | 0.0036168 | 0 | 0 | 0 | 0 | 1045.9613 | 0.58974 | 1032.4709 | 0.99777 | 1368.2216 | 0.04513 | 1050.722 | 17.5182 | 100.1112
STREAM 1 | 2021-12-04 | 1583 | 0.4107 | 0.41977 | 93.4478 | 0 | 5.4792 | 0.19967 | 0.016716 | 0.01587 | 0 | 0.0041886 | 0.0023564 | 0.0037596 | 0.0037596 | 0 | 0 | 0 | 0 | 1047.3135 | 0.58992 | 1033.8113 | 0.99777 | 1369.7936 | 0.045144 | 1052.0858 | 17.5285 | 100.3674
STREAM 1 | 2021-12-05 | 1584 | 0.43078 | 0.4202 | 93.1573 | 0 | 5.7476 | 0.20362 | 0.015964 | 0.014992 | 0 | 0.0038259 | 0.0022863 | 0.0034198 | 0.0034198 | 0 | 0 | 0 | 0 | 1049.1432 | 0.59131 | 1035.6292 | 0.99776 | 1370.5837 | 0.04525 | 1053.9362 | 17.5538 | 100.5192
STREAM 1 | 2021-12-06 | 1585 | 0.44736 | 0.43673 | 93.3029 | 0 | 5.5878 | 0.19102 | 0.013873 | 0.012535 | 0 | 0.003169 | 0.0019139 | 0.0026902 | 0.0026902 | 0 | 0 | 0 | 0 | 1047.2449 | 0.59053 | 1033.7452 | 0.99777 | 1368.9923 | 0.045191 | 1052.0189 | 17.5346 | 99.4429
STREAM 1 | 2021-12-07 | 1586 | 0.43413 | 0.39832 | 93.4201 | 0 | 5.5202 | 0.19048 | 0.014871 | 0.013458 | 0 | 0.0034402 | 0.0020639 | 0.0029158 | 0.0029158 | 0 | 0 | 0 | 0 | 1047.3085 | 0.58981 | 1033.8052 | 0.99777 | 1369.9065 | 0.045136 | 1052.0803 | 17.5291 | 100.1176
STREAM 1 | 2021-12-08 | 1587 | 0.43475 | 0.40936 | 93.3452 | 0 | 5.5795 | 0.19278 | 0.015237 | 0.014231 | 2.7428e-06 | 0.0036144 | 0.0022061 | 0.0030901 | 0.0030901 | 0 | 0 | 0 | 0 | 1047.717 | 0.59026 | 1034.2125 | 0.99776 | 1369.9249 | 0.04517 | 1052.4941 | 17.5354 | 99.9004
STREAM 1 | 2021-12-09 | 1588 | 0.42552 | 0.3971 | 93.3102 | 0 | 5.6207 | 0.20344 | 0.016494 | 0.016013 | 0 | 0.0040953 | 0.0025854 | 0.0039391 | 0.0039391 | 0 | 0 | 0 | 0 | 1048.5342 | 0.59049 | 1035.0209 | 0.99776 | 1370.73 | 0.045188 | 1053.318 | 17.542 | 100.2813
STREAM 1 | 2021-12-10 | 1589 | 0.42802 | 0.42404 | 93.3589 | 0 | 5.5488 | 0.198 | 0.015941 | 0.015518 | 0 | 0.0040413 | 0.0025397 | 0.0042498 | 0.0042498 | 0 | 0 | 0 | 0 | 1047.5935 | 0.59035 | 1034.09 | 0.99776 | 1369.6621 | 0.045177 | 1052.3701 | 17.5341 | 100.1887
STREAM 1 | 2021-12-11 | 1590 | 0.45705 | 0.49944 | 93.3462 | 0 | 5.4957 | 0.16869 | 0.012718 | 0.011881 | 0 | 0.0031637 | 0.0019771 | 0.0032274 | 0.0032274 | 0 | 0 | 0 | 0 | 1045.4584 | 0.5905 | 1031.9766 | 0.99777 | 1366.6875 | 0.045188 | 1050.2191 | 17.5225 | 99.2747
STREAM 1 | 2021-12-12 | 1591 | 0.47183 | 0.55823 | 93.3345 | 0 | 5.4589 | 0.15062 | 0.010605 | 0.0092102 | 0 | 0.0024622 | 0.0015203 | 0.0021368 | 0.0021368 | 0 | 0 | 0 | 0 | 1043.981 | 0.59066 | 1030.515 | 0.99777 | 1364.5704 | 0.0452 | 1048.7312 | 17.5149 | 99.6323
STREAM 1 | 2021-12-13 | 1592 | 0.45507 | 0.57223 | 93.3062 | 0 | 5.5066 | 0.1386 | 0.0089506 | 0.0075276 | 0 | 0.001984 | 0.0012364 | 0.0015964 | 0.0015964 | 0 | 0 | 0 | 0 | 1044.0718 | 0.59076 | 1030.606 | 0.99777 | 1364.5709 | 0.045208 | 1048.8246 | 17.5185 | 99.8652
STREAM 1 | 2021-12-14 | 1593 | 0.4708 | 0.54128 | 93.421 | 0 | 5.4049 | 0.1394 | 0.0094715 | 0.0081387 | 0 | 0.0020867 | 0.0013243 | 0.0016259 | 0.0016259 | 0 | 0 | 0 | 0 | 1043.4968 | 0.59006 | 1030.0327 | 0.99778 | 1364.623 | 0.045155 | 1048.2408 | 17.5078 | 100.5838
STREAM 1 | 2021-12-15 | 1594 | 0.47961 | 0.53414 | 93.4384 | 0 | 5.3801 | 0.14388 | 0.010024 | 0.008465 | 2.1755e-06 | 0.0021915 | 0.0013878 | 0.0017096 | 0.0017096 | 0 | 0 | 0 | 0 | 1043.3873 | 0.58997 | 1029.9241 | 0.99778 | 1364.5847 | 0.045148 | 1048.1299 | 17.5055 | 99.8342
STREAM 1 | 2021-12-16 | 1595 | 0.48654 | 0.5277 | 93.4627 | 0 | 5.3479 | 0.15029 | 0.010681 | 0.0087588 | 0 | 0.0022626 | 0.0014375 | 0.0017502 | 0.0017502 | 0 | 0 | 0 | 0 | 1043.2606 | 0.58986 | 1029.7974 | 0.99778 | 1364.5458 | 0.045139 | 1048.0011 | 17.5027 | 98.7534
STREAM 1 | 2021-12-17 | 1596 | 0.49664 | 0.56164 | 93.501 | 0 | 5.2852 | 0.13458 | 0.0092316 | 0.0071989 | 0 | 0.0019094 | 0.0012262 | 0.0013513 | 0.0013513 | 0 | 0 | 0 | 0 | 1042.0037 | 0.5897 | 1028.5524 | 0.99779 | 1363.0731 | 0.045127 | 1046.7338 | 17.4936 | 99.1902
STREAM 1 | 2021-12-18 | 1597 | 0.48552 | 0.52461 | 93.4602 | 0 | 5.3595 | 0.14559 | 0.010565 | 0.0086199 | 0 | 0.0022667 | 0.0014212 | 0.0017323 | 0.0017323 | 0 | 0 | 0 | 0 | 1043.3124 | 0.58983 | 1029.8489 | 0.99778 | 1364.6466 | 0.045137 | 1048.0531 | 17.5034 | 99.5164
STREAM 1 | 2021-12-19 | 1598 | 0.4491 | 0.4262 | 93.563 | 0 | 5.344 | 0.18244 | 0.014222 | 0.012909 | 0 | 0.0032801 | 0.0020066 | 0.0028231 | 0.0028231 | 0 | 0 | 0 | 0 | 1045.3795 | 0.58918 | 1031.8917 | 0.99778 | 1368.1016 | 0.045088 | 1050.1326 | 17.5097 | 99.7189
STREAM 1 | 2021-12-20 | 1599 | 0.44164 | 0.38544 | 93.3546 | 0 | 5.5507 | 0.21915 | 0.0189 | 0.017849 | 2.2947e-06 | 0.0046077 | 0.0028116 | 0.0043374 | 0.0043374 | 0 | 0 | 0 | 0 | 1048.3264 | 0.59034 | 1034.8147 | 0.99776 | 1370.6283 | 0.045176 | 1053.1079 | 17.5367 | 99.5769
STREAM 1 | 2021-12-21 | 1600 | 0.41891 | 0.35894 | 93.2878 | 0 | 5.653 | 0.22674 | 0.020163 | 0.020013 | 0 | 0.0053099 | 0.0033808 | 0.0057844 | 0.0057844 | 0 | 0 | 0 | 0 | 1049.8845 | 0.59068 | 1036.3593 | 0.99776 | 1372.2876 | 0.045202 | 1054.6794 | 17.5501 | 99.1514
STREAM 1 | 2021-12-22 | 1601 | 0.42473 | 0.39149 | 93.3898 | 0 | 5.5308 | 0.21337 | 0.018051 | 0.017989 | 5.3493e-06 | 0.0047727 | 0.0031445 | 0.0058565 | 0.0058565 | 0 | 0 | 0 | 0 | 1048.2534 | 0.59022 | 1034.7424 | 0.99776 | 1370.6819 | 0.045166 | 1053.0341 | 17.5355 | 99.7754
STREAM 1 | 2021-12-23 | 1602 | 0.4315 | 0.40234 | 93.4754 | 0 | 5.4216 | 0.21917 | 0.018139 | 0.018412 | 0 | 0.0047624 | 0.0031087 | 0.0055995 | 0.0055995 | 0 | 0 | 0 | 0 | 1047.3336 | 0.58987 | 1033.8303 | 0.99777 | 1369.871 | 0.04514 | 1052.1055 | 17.5249 | 100.6384
STREAM 1 | 2021-12-24 | 1603 | 0.42105 | 0.41632 | 93.4725 | 0 | 5.3981 | 0.23752 | 0.020032 | 0.019978 | 0 | 0.0052272 | 0.0032728 | 0.0059547 | 0.0059547 | 0 | 0 | 0 | 0 | 1047.506 | 0.5901 | 1034.0022 | 0.99777 | 1369.8336 | 0.045158 | 1052.2797 | 17.526 | 100.4078
STREAM 1 | 2021-12-25 | 1604 | 0.43053 | 0.42834 | 93.5024 | 0 | 5.3753 | 0.2157 | 0.017735 | 0.017022 | 0 | 0.0046339 | 0.0028412 | 0.0054865 | 0.0054865 | 0 | 0 | 0 | 0 | 1046.6208 | 0.58983 | 1033.1239 | 0.99777 | 1368.9915 | 0.045137 | 1051.3865 | 17.5197 | 100.0511
STREAM 1 | 2021-12-26 | 1605 | 0.4744 | 0.51633 | 93.7374 | 0 | 5.0704 | 0.16848 | 0.012565 | 0.01156 | 0 | 0.0031396 | 0.0020054 | 0.0038249 | 0.0038249 | 0 | 0 | 0 | 0 | 1041.8901 | 0.58867 | 1028.4349 | 0.99779 | 1364.115 | 0.045048 | 1046.6135 | 17.4795 | 100.4173
STREAM 1 | 2021-12-27 | 1606 | 0.46543 | 0.47731 | 93.8467 | 0 | 5.0012 | 0.17437 | 0.013307 | 0.012362 | 0 | 0.0032807 | 0.0021751 | 0.003865 | 0.003865 | 0 | 0 | 0 | 0 | 1041.9834 | 0.588 | 1028.5242 | 0.99779 | 1365.0056 | 0.044997 | 1046.7048 | 17.474 | 100.6958
STREAM 1 | 2021-12-28 | 1607 | 0.40969 | 0.36746 | 93.6345 | 0 | 5.3291 | 0.21152 | 0.018141 | 0.017099 | 0 | 0.0045168 | 0.0028659 | 0.0050953 | 0.0050953 | 0 | 0 | 0 | 0 | 1047.0251 | 0.58888 | 1033.5201 | 0.99777 | 1370.6166 | 0.045064 | 1051.7894 | 17.5158 | 100.2251
STREAM 1 | 2021-12-29 | 1608 | 0.424 | 0.38088 | 93.6011 | 0 | 5.344 | 0.20518 | 0.017226 | 0.016202 | 3.1131e-06 | 0.0042906 | 0.0026725 | 0.0044653 | 0.0044653 | 0 | 0 | 0 | 0 | 1046.6864 | 0.58903 | 1033.1851 | 0.99777 | 1369.998 | 0.045076 | 1051.4487 | 17.5153 | 100.0002
STREAM 1 | 2021-12-30 | 1609 | 0.44801 | 0.42333 | 93.7521 | 0 | 5.1553 | 0.18316 | 0.014561 | 0.01369 | 0 | 0.0036214 | 0.0023415 | 0.0038849 | 0.0038849 | 0 | 0 | 0 | 0 | 1044.0811 | 0.58829 | 1030.6022 | 0.99778 | 1367.4253 | 0.045019 | 1048.8203 | 17.4917 | 99.8984
STREAM 1 | 2022-12-31 | 1610 | 0.48066 | 0.49552 | 93.8848 | 0 | 4.9485 | 0.16224 | 0.0114 | 0.0099942 | 0 | 0.0026714 | 0.0017276 | 0.0025468 | 0.0025468 | 0 | 0 | 0 | 0 | 1040.8851 | 0.58775 | 1027.4352 | 0.9978 | 1363.8529 | 0.044978 | 1045.5972 | 17.4655 | 99.8132
Averages |  |  | 0.44426 | 0.44933 | [15 empty] | 1045.7945 | 0.58978 | 1032.306 | 0.99777 | 1367.9658 | 0.045133 | 1050.5541 | 17.5171 | 99.9182